आईसीएमआर-राष्ट्रीयपूर्व-नैदानिक ​​अनुसंधानसंस्थान

ICMR-NATIONAL INSTITUTE FOR PRE-CLINICAL RESEARCH(Erstwhile ICMR-NARFBR)

जीनोमवैली, शमीरपेट/, तुर्कापल्ली/ GENOME VALLEY, SHAMIRPET/TURKAPALLY- 500101

No. ST/NARFBR/Whole Metagenomics Sequencing/P16/2026-27         Date:25.05.2026

Limited Tender Enquiry for Whole Metagenomics Sequencing Service

Name of the Procuring Entity___________________________________________________

| Firm’s Reference |  | Date |  |
| --- | --- | --- | --- |
| Firm Registration No. (if any) |  | PAN (Attach Photocopy) |  |
| TIN/GST No. |  | Address |  |
| Phone |  | Enquiry No. and Date | No. ST/NIPCR/Metagenomics Sequencing/P16/2025-26, Dated 25.05.2026 |
| Fax |  | Date of Tender Opening | 05.06.2026 |
| Email |  |  |  |
| M/s |  |  |  |

All prospective bidders are requested to submit their tenders (on their company letter head only) on or before 5:00 PM in a sealed cover clearly marked title at the top as No. ST/NIPCR/ Metagenomics Sequencing /P16/25-26 dated 26.05.2026 with end date as 05.06.2026, and the complete address of the bidder including email Id and contact number. The sealed tender may be submitted by post, courier. Tenders received without mentioning the Enquiry/Tender Number or with incomplete tender details shall be rejected. No tenders shall be accepted after the due date and time specified in the tender notice. Further, no intimation will be issued to the rejected, disqualified, or unsuccessful bidders. Only the successful bidder (L1) will be informed through a Purchase Order after evaluation.

As per the ICMR–NIPCR procedure for resolving cases where multiple bidders quote the same L1 rate, the following tie-breaking criteria have been applied:

- Past Performance / Experience:

Preference is given to the bidder who has previously supplied similar items to ICMR or other Government institutions, supported by a copy of the recent Purchase Order (PO).

- Annual Turnover:

If the performance records are comparable, preference is accorded to the bidder having a higher average annual turnover during the last three financial years, as per documentary proof (audited balance sheet or CA certificate).

Documents Required

- Price tender:

- The price tender must include all the items listed in the schedule.

- Partial tenders will be rejected at the initial stage.

- Past Performance / Experience Certificate:

- Bidders shall submit copies of previous Purchase Orders (POs) or Performance Certificates for the same or similar items supplied to ICMR or other Government institutions.

- Annual Turnover Certificate:

- Bidders shall provide an Annual Turnover Certificate for the last three financial years, duly certified by a Chartered Accountant, along with the relevant financial documents (audited balance sheet or profit & loss statement).

Yours Sincerely

Administrative Officer

Tender Schedule: All Rates in Figures and Words in Rupees

| Sl. No | Description and Specification | Qty. | Unit | Delivery Terms | Rate per Unit | Taxes & Duties | Packing/ forwarding | Total Rate per Unit | Total Value |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Whole Shotgun Metagenomics Sequencing Service (As per enclosed scope) | 45 | Samples | 90 Days |  |  |  |  |  |

Important Notes:

- Any addendum/Corrigendum date extension in respect of above Tender shall be issued on our official website https://www.narfbr.org only. The bidders are therefore requested to regularly visit above websites to keep themselves updated.

- The address and contact details for sending tender documents / quotations areas under:

The Director,

ICMR-NATIONAL INSTITUTE FOR PRE-CLINICAL RESEARCH

Genome Valley, Kolthur P.O, Shamirpet,

Hyderabad – 500101,

Ph.: 040 -23480800 / 23480808.

Mail Id: sostores-narfbr@icmr.gov.in,

# Scope of work: Whole Genome Shotgun Metagenomic Sequencing (Illumina Platform)

# Sample Type: Monkey fecal samples

# Quantity: 45 Nos.

# Duration: 3 months (may be extended based on the project requirement)

The bidder shall provide end-to-end services for whole-genome shotgun metagenomic sequencing of monkey fecal samples using an Illumina sequencing platform, including sample processing, sequencing, bioinformatics analysis, interpretation, data submission, reporting, and training. All activities shall be performed using validated protocols and in compliance with applicable biosafety, data confidentiality, and technical requirements specified in the bid document.

- Initially, few (one to two) samples shall be processed as a pilot study to assess data quality. Further sample processing shall commence only after acceptance of pilot data quality by the end user.

- Fresh fecal samples (~5 g) shall be collected in sterile containers stored at-20℃/-80℃ and transported under cold-chain conditions. The bidder shall ensure proper receipt, and labeling of all samples.

- The bidder shall perform NGS-grade metagenomic DNA extraction using standardized, optimized, and validated protocols suitable for downstream Illumina sequencing.

- Extracted DNA shall undergo quality control using: Agarose gel electrophoresis, NanoDrop spectrophotometer and Qubit fluorometer (where applicable).

- The bidder shall provide DNA quality and quantity reports for each sample and deliver high-quality metagenomic DNA suitable for library preparation.

- Paired-end shotgun metagenomic libraries shall be prepared using Illumina-compatible chemistries, with unique indexing/barcoding for each sample.

- Sequencing shall be performed using 2 × 150 bp paired-end reads or equivalent, generating a data output of 3 GB or more per sample, meeting Illumina quality benchmarks.

- The bidder shall provide raw sequencing data (FASTQ files) along with quality assessment, adapter trimming, removal of low-quality reads, and corresponding QC reports.

- Taxonomic profiling shall be performed using validated pipelines with visualization outputs and relative abundance bar plots.

- Functional profiling shall be conducted using validated tools, with annotation against recognized databases.

- The analysis shall include functional quantification, pathway reconstruction, and visualization.

- Alpha diversity (e.g., Shannon, Simpson, richness indices) and beta diversity (e.g., Bray–Curtis, UniFrac) analyses shall be performed.

- Comparative and differential abundance analyses shall be carried out across defined experimental groups.

- Profiling of antibiotic resistance genes and mobile genetic elements (MGEs) shall be included where applicable.

- The bidder shall provide comprehensive visualization outputs, along with complete raw and processed data for each sample.

- A comprehensive final report shall be submitted, covering sequencing statistics, taxonomic and functional profiles, diversity analyses, and comparative interpretations.

- Complete support shall be provided for data submission to NCBI, including metadata preparation and compliance with repository requirements.

- In case data quality does not meet agreed specifications, the bidder shall repeat sample processing and analysis free of cost.

- The bidder shall provide hands-on training in metagenomics data processing and analysis. PI/Co-PI/ project staff shall be permitted to participate during sample processing and data analysis.

- All activities shall be completed within mutually agreed timelines, with continuous technical support provided throughout the contract period.

Item/Tender Specific Conditions of this Tender:

I/ we engage to supply the material(s) to your office and comply with the following:

- Tender schedule and technical specification indicated.

- Item/tender-specific conditions for this tender.

- Terms and conditions printed overleaf.

- General conditions of contract signed by me at the time of supplier registration (for registered suppliers).

- I/we confirm that set off for the ED, GST, etc. Paid on the inputs have been taken into consideration in the above quoted price and further agree to pass on such additional duties as sets offs as may become available in future under GST, etc.

- This offer is valid for 90 (ninety) days from the date of opening of the tender.

- That we have not been debarred by any Government/Undertaking.

- That the rates quoted are not higher than the rates quoted for the same item to any Government/Undertaking. ,

- That the bid submitted by us is properly sealed and prepared to prevent any subsequent alteration and replacement.

| Signature & Seal Place & Date: |  | Name of Authorized Signatory: |  |
| --- | --- | --- | --- |
| Address: |  | Tel. No./ Fax. No./ Mobile No. Email Id: |  |

TERMS AND CONDITIONS OF LIMITED TENDER

- The quotation must be in the form furnished by procuring entity and should be free from corrections/erasures. In case there is any unavoidable correction it should be properly attested. If not, the quotation will not be considered. Quotation written in pencil will not be considered.

- Quotation will be opened on due date at 5:00 pm at the indicated venue in presence of the bidders or their representatives who may wish to be present.

- The Director ICMR-NIPCR reserves the right to accept the offer by individual items and reject any or all tenders without assigning any reason thereof and does not bind itself to accept lowest quotations.

- Participation in this tender is by invitation only and is limited to the selected procuring entity’s registered suppliers. Unsolicited offers are liable to be ignored. However, suppliers who desire to participate in such tenders in future may bring it to the notice of procuring entity and apply for registration as per procedure.

- Manufacturer’s name and country of origin of materials offered must be clearly specified (where applicable). Please quote whether your organization is large scale industry or small-scale industry. If you have UAM Certificate, please attach it to the quotation. Mention your registration details.

- Shelf life of the product should be minimum 12 months (where applicable)

- The prices quoted should be firm till the supplies are completed. Please quote the rates in words and figures. Rates quoted should be free delivery at destination including all charges otherwise the quotation is likely to be rejected. Prices quoted for free delivery at destination will be given preference. If there is no indication regarding the FOR, in the quotation, then it will be considered as FOR destinations. Price quoted should be net and valid for a minimum period of one year from the date of opening of the quotation.

- Payment of sales tax is primarily the responsibility of the seller and will not be paid unless the percentage value is clearly mentioned in the quotations. If no indication regarding GST is recorded in the quotation, the GST will be considered as included.

- If the deliveries are not maintained and due to that account Procuring Entity is forced to buy the material at your risk and cost from elsewhere, the loss or damage that may be sustained there by will be recovered from the defaulting supplier.

- Dispute clause: Any dispute relating to the enquiry shall be subject to the jurisdiction of the court at Hyderabad only.

- Payment shall be made only after supply of the items in good condition along with satisfactory report received by concerned Division Head.

- The Bill should be submitted inclusive of applicable GST as per the latest GoI notification.

- This payment is subject to recoveries, if any, either on account of statutory deduction/ taxes/ Liquidated Damages, if any and non-rectification of defects/ deficiencies not attended by the Supplier or otherwise. The firm is required to submit the following documents to Stores, ICMR NIPCRfor payment:

- Invoice in original showing contract number, goods description, quantity, unit price and total amount.

- Acknowledgement of Receipt of Goods issued by the consignee.

- No advance payment will be made for the supplies. No Bill for part payment will normally be entertained.

- Institute reserves the right to ask the bidders to submit any other supportive documents / clarifications if any require and right to reject/cancel any or all the bid at any time or to relax/amend/withdraw any of the terms and conditions as contained in the tender documents without assigning any reason, thereof. Any inquiry after submission of the bid will not be entertained.

Appendix -1

Certificate for Tender

(To be given on Company Letter Head)

Bid Number	:________________

Dated		:__________________

To,

The Director,

ICMR- ICMR-NATIONAL INSTITUTE FOR PRE-CLINICAL RESEARCH,

Genome Valley, Kolthur P.O, Shamirpet,

Hyderabad- 500 101.

Sub: Certificate of compliance as per Rule 144 (xi) GFR’s 2017

Name of Tender / Work: ____________________________________________________________

"I have read the clause regarding restrictions on procurement from a bidder of a country which shares land border with India; I certify that this bidder is not from such a country or, if from such a country has been registered with the Competent Authority. I hereby certify that this bidder fulfils all requirements in this regard and is eligible to be considered. [Where applicable, evidence of valid registration by the Competent Authority shall be attached.]"

Yours Faithfully,

(Signature of the Bidder, with Official Seal)

Appendix -2

Pledge to abide by all the terms and conditions mentioned in the Bid Document

Bid Number	:________________

Dated		:__________________

To,

The Director,

ICMR- ICMR-NATIONAL INSTITUTE FOR PRE-CLINICAL RESEARCH,

Genome Valley, Kolthur P.O, Shamirpet,

Hyderabad- 500 101.

#### Sub.:    Pledge to abide by all the terms and conditions mentioned in the Bid Document

Dear Sir,

We / I, 	______________________________________	 (Name of bidder / bidding agency / Firm) _____________________________________ (bidding agency / Firm type) located at ________________.

I pledge that I have read all the conditions/rules/terms and conditions mentioned in the above referred bid document and I agree to abide by them. I approve and agree that the decision of The Director, ICMR-National Animal Resource Facility for Biomedical Research is final and I will not complain or dispute with their decisions.

The rates filled by me are filled after complete understanding and consideration and shall be bound to it. I approve and abide with all the above stated conditions.

For,

(Name of the bidder / bidding agency)

(Authorized signatory)				 (Stamp of the bidder / bidding agency)